KAUFMAN

KAUFMAN PRODUCTS, INC.

3811 Curtis Avenue

Baltimore, Maryland 21226-1131

410-354-8600

410-354-1122 FAX

800-637-6372

www.kaufmanproducts.net

February 9, 2021

Andrew Gillespie

Gillespie Precast

Box 450

Chestertown, Maryland 21620

RE: SurePoxy HiBild Coating

Dear Mr. Gillespie,

Pursuant to our previous correspondence regarding the application of our SurePoxy HiBild epoxy coating, attached please find a copy of our Technical Data Sheet.

The TDS states that “concrete should be at least 28 day old, (depending on curing and drying conditions) or substantially cured to the equivalent design strength prior to coating.”

Please use this letter as confirmation that the SurePoxy HiBild epoxy coating can be     applied prior to completing the 28 day cure cycle if the concrete structure has substantially achieved its design strength prior to application. Due to unique concrete mix designs and processes in the Precast Concrete Industry, most Precast Concrete Manufactures do not wait 28 days to install protective coatings, since the concrete has usually achieved the designed strength well before that time.

Normal installation procedures regarding surface preparation and cleaning should be followed prior to application.

If you have any questions or we may be of further assistance to you in this matter, do not hesitate to contact me.  Thank you for your continued patronage of the products and services of Kaufman Products, Inc.

Sincerely yours,

KAUFMAN PRODUCTS, INC.

Joseph E. Daley

Joseph E. Daley

Senior Technical Sales Representative

O) 410-354-8600 X1126

C) 410-375-0492